## Slide 1
Craig Thorpe
(Corporate Asset & Energy Manager)

## Slide 2: Aims and Objectives
District heating Systems
Where we are
How we got here
Where we want to be
How we think we can get there
Notes: complex area and i am sure it is something that will stimulate a discussion in this forum.

## Slide 3: District Heating Systems
“where a number of neighboring buildings could be supplied from one boiler, much might be saved in attendance and fuel, as well as cost of apparatus. “
Robertson Buchanan, Glasgow, 1815
Scotland might reduce the amount of energy used for heat, diversify sources of heat, provide increased security of heat supply, along with greater local control and reduce the pressure on household energy bills.
Heat Generation Policy, Scottish Government

## Slide 4: Where we are
Renfrewshire Council is currently developing an existing DHS
Existing | Improvement
Gas fired | Biomass fired (pellets)
Un-insulated flats | EWI
Heat with rent | Metered
Warm air heating | Standard wet radiator systems

## Slide 5: Systematic development approach
Warm Homes Fund: Strategy application £18,500; Rural DHS
To evaluate the potential, identify suitable sites and engage with private householders to develop small scale DHS for off-gas properties.

## Slide 6: Systematic development approach
Warm Homes Fund: Strategy application £19,500; Urban Renewable DHS
To identify suitable urban renewable heat sources within commercial estate, define RC public loads and potential, define distribution of housing in the vicinity of generation sites.

## Slide 7: Systematic development approach
Warm Homes Fund: Strategy application £18,500; Biomass Strategy
To evaluate the potential to grow, process and use biomass within RC. Develop a focused refurbishment of schools to biomass, partner/develop biomass production, identify potentially suitable processing sites.

## Slide 8: Systematic development approach
Start small
Specific local projects are deliverable.
Identify key heat loads
Scottish Government heat map
Identify properties we control
    Public buildings
    Schools
    Care homes
Identify properties we can influence or partner
Housing associations

## Slide 9: Systematic development approach
Think big
There is a need for vision, strategy and long term planning.
Identify potential future developments or areas to extend the DHS to.
Design systems with connectivity in mind.
Design surplus but not excess.

## Slide 10: Local Authority Approach
Local Authority DHS Strategy
LA renewable heat sources
Commercial heat partners
LA fossil heat sources
Waste to Heat
Biomass
Oil and gas
Renewable heat

## Slide 11: Biomass
Biomass
LA owned land and wind fall
Processing as a community enterprise
Delivery as a community enterprise
Commercial plantation
Community woodlands

## Slide 12: Biomass economics A virtuous cycle?
Local biomass production & processing
Local biomass demand
LA fuel spend

## Slide 13: Justification for biomass boilers
Chart: 
| 2016/17 | 2017/18 | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36
Annual Cost of chips | 25000 | 25500 | 26010 | 26530.2 | 27060.804 | 27602.0201 | 28154.0605 | 28717.1417 | 29291.4845 | 29877.3142 | 30474.8605 | 31084.3577 | 31706.0449 | 32340.1658 | 32986.9691 | 33646.7085 | 34319.6426 | 35006.0355 | 35706.1562 | 36420.2793
RHI Income | 45000 | 45900 | 46818 | 47754.36 | 48709.4472 | 49683.6361 | 50677.3089 | 51690.855 | 52724.6721 | 53779.1656 | 54854.7489 | 55951.8439 | 57070.8808 | 58212.2984 | 59376.5443 | 60564.0752 | 61775.3567 | 63010.8639 | 64271.0811 | 65556.5028
Cumulative RHI | 45000 | 90900 | 137718 | 185472.36 | 234181.8072 | 283865.4433 | 334542.7522 | 386233.6073 | 438958.2794 | 492737.445 | 547592.1939 | 603544.0378 | 660614.9185 | 718827.2169 | 778203.7612 | 838767.8365 | 900543.1932 | 963554.057 | 1027825.1382 | 1093381.641
Cost of Boilers | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000
Cumulative Cost of Chips | 25000 | 50500 | 76510 | 103040.2 | 130101.004 | 157703.0241 | 185857.0846 | 214574.2263 | 243865.7108 | 273743.025 | 304217.8855 | 335302.2432 | 367008.2881 | 399348.4538 | 432335.4229 | 465982.1314 | 500301.774 | 535307.8095 | 571013.9657 | 607434.245
Cumulative RHI minus Chips | 20000 | 40400 | 61208 | 82432.16 | 104080.8032 | 126162.4193 | 148685.6676 | 171659.381 | 195092.5686 | 218994.42 | 243374.3084 | 268241.7946 | 293606.6305 | 319478.7631 | 345868.3383 | 372785.7051 | 400241.4192 | 428246.2476 | 456811.1725 | 485947.396